## Slide 1: Rapid Antigen Test Training

## Slide 2: Rapid Antigen Tests
Purpose is to act as an enhanced screening measure and to detect SARS-CoV-2 antigen
Eligibility
  Asymptomatic individuals
  Individuals who have not tested positive for COVID-19 in the past 30 days

## Slide 3: PanbioTM
• 25 test devices • 25 extraction tubes • 25 tube caps • 25 sterilized nasopharyngeal (NP) swabs for specimen collection
• 1 Buffer (1 x 9ml/bottle) • 1 Positive control swab • 1 Negative control swab • 1 tube rack • 1 Quick reference guide • 1 Instructions for use

## Slide 4: PanbioTM

## Slide 5: PanbioTM – Step 1: Set up your station
• Clean, flat surface/table • Timers • PanbioTM kits (test device, extraction tube, buffer solution, tube cap, tube rack, nasal swab) • PPE (If performing on someone else, you need gloves, mask, face shield and gown) • Biohazard waste bin • Hand sanitizer and disinfectant wipes

## Slide 6: PanbioTM – Step 2: Prepare your testing gear

## Slide 7: PanbioTM – Step 3: Add buffer solution to tube

## Slide 8: PanbioTM – Step 4: Complete the swab

## Slide 9: PanbioTM – Step 5:Add swab to the tubes

## Slide 10: PanbioTM – Step 6: Add sample to test device

## Slide 11: PanbioTM – Step 7: Wait for test to develop and read results

## Slide 12: PanbioTM – Step 7: Wait for test to develop and read results

## Slide 13: PanbioTM – Step 8: Clean station with disinfectant wipes and dispose of waste appropriately

## Slide 14: PanbioTM Quick Video
https://www.youtube.com/watch?v=FH2N9LAKIKg

## Slide 15: BD Veritor
• 30 test devices • 30 pre-filled reagent tubes • 30 sterilized nasal swabs for specimen collection
• 1 Positive control swab • 1 Negative control swab • 1 tube rack • 1 Quick reference guide • 1 Instructions for use • Nasal sample quick reference instructions

## Slide 16: BD Veritor – Step 1: Set up your station
Pre-filled extraction reagent tube
Test Device
Nasal Swab
Tube Rack
Timer
Bin
Hand sanitizer and disinfectant wipes
PPE
Clean and flat surface

## Slide 17: BD Veritor – Step 2: Prepare your testing gear
Place your tube in the tube rack and loosen the cap on the top
Ensure that your test device is ready for use out of its packaging and swab is ready

## Slide 18: BD Veritor – Step 3: Complete the swab

## Slide 19: BD Veritor – Step 4: Add swab to the tubes

## Slide 20: BD Veritor – Step 4: Add sample to test device and analyze results

## Slide 21: BD Veritor Quick Video
https://www.youtube.com/watch?v=_65MZIt48cU

## Slide 22: QuickVue – Step 1: Set up your station
Box Contents vary depending on the pack that is bought
Station:
  Tubes
  Tube Rack
  Test strips
  Swab
  Timer
  PPE
  Bin
  Hand Sanitizer and disinfectant wipes
  Clean and flat surface

## Slide 23: QuickVue – Step 2: Preparing testing gear

## Slide 24: QuickVue – Step 3: Complete the swab

## Slide 25: QuickVue – Step 4: Prepare sample for analysis

## Slide 26: QuickVue – Step 5: Place Test strip in sample

## Slide 27: QuickVue – Step 6: Analyze results

## Slide 28: QuickVue – Quick Video
https://www.youtube.com/watch?v=VifHP5M14UI